PHYSICS, CHEMISTRY AND APPLICATION OF NANOSTRUCTURES, 2013

EFFECT OF STRUCTURE AND SURFACE STATE OF NANOCRYSTALLINE TIN DIOXIDE ON ITS GAS SENSING PROPERTIES

E. OVODOK, M. Ivanovskaya

Research Institute for Physical Chemical Problems, Belarusian State University
14 Leningradskaya Str., 220030, Minsk, Belarus. E-mail: ivanovskaya@bsu.by

D. Kotsikau, I. ASARKO

Belarusian State University
4, Nezavisimosti Av., 220030, Minsk, Belarus

V. KORMOSH, I. ALYAKSEV

Research Institute of Analytical Technique of Uzhgorod National University
25, Mukachivska Str., 88000, Uzhgorod, Ukraine

Effect of particle size, concentration of structural defects and the presence of sulfite and sulfate groups on the response of thick-film SnO2 sensors to CH4 and CO were revealed. Particle size and the presence of SO-groups were found to be main parameters determining the sensitivity of SnO2-based sensors to CH4, while structural defects of SnO2 layers are essential for CO detection.

# Introduction

Nanosized tin dioxide is widely used as sensing layers for semiconducting gas sensors, whose work principle is based on the change in electrical resistance after contact with a test gas. Both adsorption and catalytic properties of SnO2 are known to depend on particle size, presence of doping additives, surface state, nature and properties of adsorption centers [1–4].

Typically, chemical deposition approach assumes the preparation of SnO2 oxide by the transformation of Sn (IV) compounds. In this work we propose to use Sn (II) sulfate as a precursor in order to obtain a SnO2 material that differ in grain size, phase composition, microstructure, nature of defects and surface state. Hydrolysis of SnSO4 water solution results in Sn (II) oxyhydroxide, which transforms into Sn(IV) oxide under thermal treatment. The formation of intermediate nanosized phases (SnO, Sn3O4) and stabilization of partially reduced tin states (Sn+2, Sn+3) are possible during this process. Also, it is known that thermal decomposition of residual SO42– ions provides a modifying effect on the state of an oxide surface, increasing its area and catalytic activity in oxidation reactions [5]. These effects are associated with changes in the nature and strength of acid-base centers on the oxide surface, and with the participation of adsorbed SOx– groups in the activation of adsorption processes [6].

The effect of certain structural factors on the change of electrical conductivity of SnO2 layers under exposure to CO–air and CH4–air mixtures has been studied in the paper.

# Experimental

The SnO2 samples were prepared by hydrolysis of SnSO4 water solution with hydrated ammonia. The precipitates was washed 5 times by centrifugation and exposed to ultrasonic treatment for 2 min (22 kHz). The obtained sols were dried at 50 ºC and annealed at 500–800 ºC in air.

The samples were characterized by Electron paramagnetic resonance (EPR), Fourier-transform infrared spectroscopy (FTIR) and X-ray diffraction (XRD). EPR spectra were recorded on a VARIAN E 112 spectrometer with a frequency of 9.35 GHz at 77 K. IR spectra were obtained on an AVATAR-330 (Thermo Nicolet) spectrometer in λ range 400−4000 cm–1. XRD analysis was carried out on a DRON-2.0 diffractometer by using Ni-filtered Cu Kα radiation. The Sherrer equation was used for estimation of average particles size in the samples (CSR - coherent-scattering region).

Thick-film sensing layers were fabricated using the SnO2 powders annealed at different temperatures. The powders were grinded with ethanol to form a paste. The pastes were deposited onto alumina substrate supplied with Pt-heater and electrodes. The substrates with the layers were additionally annealed at 570 °C. The sensitivity of the sensors was measured to CO (0.015% vol. %) and CH4 (0.05 vol. %). The sensor response (G) was calculated as Rair/Rgas.

# Results and Discussion

Figure 1 XRD patterns of the SnO2 samples annealed at different temperatures.

According to the XRD data of the powder dried at 50 °C (Fig. 1) the hydrolysis product of SnSO4 solution is Sn6O4(OH)4 (a = 0,7926 nm, c = 0,9102 nm) with an admixture of SnO2. After heating the sample at 500-800 °C SnO2 is registered as the main phase. Unit cell parameters of the SnO2 phase, grain size and the sensor response to CO and CH4 are given in Table 1.

As it is seen from Fig. 2 the sensing

characteristics to CO and CH4 of the obtained SnO2 material depend on its annealing temperature. Thus, the sample annealed at 500 °C demonstrates the highest response to CH4. Note that it  is  characterized by minimum grain  size. A

Table 1. Parameters of unit cell of SnO2 tetragonal phase, CSR size and sensor response to CO (0.015% vol.) and CH4 (0.5% vol.)

| Тannealing, ºС | Phase composition | a, nm | c, nm | CSR, nm | G, (Rair/Rgas) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | СО | СН4 |
| 500 | SnO2, SnO* | 0.4745 | 0.3195 | 9 | 2.6 | 8.6 |
| 600 | SnO2, SnO* | 0.4739 | 0.3186 | 31 | 3.0 | 5.5 |
| 700 | SnO2 | 0.4762 | 0.3208 | 24 | 2.2 | 5.2 |
| 800 | SnO2 | 0.4736 | 0.3186 | 30 | 2.3 | 4.5 |

* admixture

broad absorption band with maximums at 975 and 1080 cm–1 is registered in the IR spectra of this sample (Fig. 3). The band is attributed to 3(S=O) vibration in SO32– (980, 1040 cm–1) and in SO42– (1080 cm–1), thus indicating the presence of SO42– and SO32– groups on the oxide surface. According to the literature data, decomposition of tin (II) sulfate(SnSO4  SnO + SO3) occurs at 360 °C that corresponds to the maximum of SO3 adsorption on SnO2 proceeding at 450° C. Heating the powder at temperatures above 600 °C leads to the removal of SOx– groups. This evokes the growth of SnO2 crystallites and, consequently, the sensitivity to CH4 decreases.

| Figure 2 Sensitivity of the SnO2 samples annealed at different temperature to CH4 (0.015% vol.) and CO (0,5 vol. %). |  |
| --- | --- |

The SnO2 sample annealed at 600° C demonstrates the highest response to CO. Note that it is observed at lower operating temperature of the sensor as compared to the maximum response to CH4. A distinctive feature of this sample is the highest concentration of structural defects. Two types of paramagnetic

Figure 3 IR spectra of SnSO4 powder, and SnO2 samples annealed at 500 °C and 600 °C

centers (PC) were revealed in the SnO2 samples by EPR spectroscopy. These centers affect the adsorption properties and electrical conductivity of semiconducting oxides. The PC with g = 1,88 are attributed to unpaired electrons localized in the s-orbital, a new orbital which consists of a linear combination of Sn4+ atomic orbitals around oxygen vacancies [Sn(4–)+−V–]. There is a clear correlation between the concentration of these centers in SnO2 and its sensitivity to CO. The mentioned EPR signal has the highest intensity in the sample obtained at 600 °C. The second type of PC with g = 2,0032 and 
g|| = 2,00017 is related to defects in the crystal lattice of SnO2, where oxygen is stabilized

in O– form. This chemically active oxygen form is an effective center for CO adsorption. The O– defects can be originated in the process of partial transformation of lattice O2– oxygen into single-charged state due to the charge compensation in Sn1–x(Sn2+x)O2.

# Conclusion

The presented data support the point that the size of SnO2 particles, chemical state of the surface, and nature of the defects play an important role in determining the adsorption and gas-sensing features of nanosized SnO2 material. The presence of SOx– groups in the oxide structure and the associated increasing in dispersion of SnO2 oxide result in the growth of the sensor sensitivity to CH4 more than to CO. The drop of the sensor conductivity under CO exposure depends mostly from the concentration of structural defects in the SnO2 layer, in particular, oxygen vacancies, which act as the centers of adsorption and activation of CO and O2 molecules.

References

- 1.	K. Kohl, Sens. and Act. B. 18, 71 (1989).

- 2.	S. Morrison, Sens. and Act. B. 2, 329 (1982).

- 3.	A. Cabot, J. Arbiol, J. Morante, Sens. and Act. B. 70, 87 (2000).

- 4.	M. Ivanovskaya, Proc. of conf. devoted to the centenary of acad. N.F. Ermolenko. (Minsk, 2000) 144.

- 5.	V. Komarov, M. Sinilo, Vesci AN BSSR. 4, 11 (1988).

- 6.	V. Komarov, M. Sinilo, Kin. and Kat. 29(3), 701 (1988).